PGN-Z系列数字式全自动正弦波逆变电源

PGN-Z series full-automatic power inverters（Square Wave）

PGN-Z系列全自动逆变应急电源采用进口集成PWM脉宽调节控制，国内外先进电路设计, CPU集成控制技术，数字化电路，大功率模块驱动，具有应变快、抗干扰、抗雷击、输出电压频率稳定，适应性、实用性强，广泛应用于宾馆、商场、娱乐场所的自动应急供电及各种电子仪器、家用电气、电教照明、通讯设备、微机系统和车船电器的供电，为您解决无电之忧。

PGN-Z series full-automatic power inverters are manufactured by referring the advanced circuit design at home and aboard, adopting the imported. Integrated PWM for control and high power crystal modular pipe for drive， The power supply inverters offer the featured of quick strain, anti-interference, MCU（Microcontroller Unit）control technology, digitized circuit, the high-power module is driven, have meeting an emergency fast thunderstruck, steady output voltage frequency, good adaptability and practical. Inside the PGN-B, there is provided with a battery while the external battery terminal is also provided, which can help you to get red of the trouble of the power failure. It is suitable for using in the field electricity-consumption, ship, villa, island, the contra variant of wind-mill generator and diesel generator, specially for using in the television of car. And it is also applied to the computer, testing equipment, lighting system, safety alarm system, communication system, medical equipment, office equipment, etc.

二、产品特点Characteristic of the products

1、单片机数字控制，正弦波输出，保护功能齐全；The MCU is digital control, it is Square Wave exported, it is multiple functional to protect;

2、采用霍尔传感器检测，合理控制输入、输出工作电流；Adopt Hall's sensor to measure, control introduction , export the job electric current rationally;

3、PWM正弦波脉宽调制，输出谐波小；PWM Square Wave pulse width to modulate, it is small to export the wave in harmony;

4、对多种类型和容量的蓄电池进行充放电管理; Charge and discharge to manage to many kinds and battery of the capacity;

5、进口MOS驱动管应用，驱动强劲，逆变全桥平衡、稳定；Importing MOS and is driven and in charge of application, urges powerfully, it is balanced , steady to go against and turn into the whole bridge;

6、逆变器过载、过压、过温、短路保护，电池充电保护，欠压保护；Go against overload , excessive pressure of becoming etc., too warm is it protect to short outing, the battery is charged and protected, owe and press and protect;

7、LED面板显示工作状态和故障类型，便于及时寻检电源的各个工作；LED panel shows the working state and trouble type, benefits and seeks each work which examines the power in time;

8、运行安静，环保无害。Running quietly, environmental protection is harmless.

产品性能Product Performance

| 输出电压Output the voltage | 220/110V±10％自动稳压 220/110V±10％automatic stabilized voltage | 充电输入电压Charging input Voltage | 220/110V±10％ |
| --- | --- | --- | --- |
| 输出频率Output frequency | 50/60 Hz ±2%自动稳频50/60 Hz ±2% automatic stabilized frequency | 切换方式switching type | 15ms之内自动切换Switch over automatically within 15ms |
| 输出波形Output waveform | 脉宽调制正弦波后备长效输出Modulate and Square Wave reserve long result to export in pulse width | 应维持时间Should maintain time | PGN-Z视配电瓶容量和负载功率而定PGN depends on mix the capacity of the storage battery and power of load |
| 效 率Efficiency | ≥0.7 | 电池方式Battery way | PGN-Z为外接电池，自动充电并可以通过外接电池延长使用时间。PGN-Z is the outer battery; charging automatically and can external connected with battery to lengthen the time. |

规格、尺寸、重量Spec., size and weigh

| 规格型号 Spec model | 产品尺寸Product size (cm) | 重量Weigh (Kg) | 包装尺寸Package size (cm) | 台装Unit |
| --- | --- | --- | --- | --- |
| PGN-Z | 500VA/12V | 33x19x28 | 13 | 36x24x33 | 1 |
|  | 1000VA/12V /24V | 33x19x28 | 18 | 36x24x33 | 1 |
|  | 1500VA/24V | 33x19x28 | 21 | 36x24x33 | 1 |
|  | 2000VA/24V/48V | 25x35x42 | 43 | 45x35x55 | 1 |
|  | 3000VA/24V/48V | 25x35x42 | 47 | 45x35x55 | 1 |
|  | 5000VA/48V | 27x48x50 | 53 | 53x48x58 | 1 |