UL INTERNATIONAL LIMITED

General Office:	18/F, Delta House, 3 On Yiu Street, Shatin, NT, Hong Kong

Sample Collection:	14/F, Blk B, Veristrong Ind. Centre, 34/F Au Pui Wan St.,

Fo Tan , Shatin, NT, Kong Kong

Customer Service Hotline: (852) 2276 9898		Email: customerservice.hk@hk.ul.com

| Date | : | ____________________ |  | Total No. of Pages | : | 10 |
| --- | --- | --- | --- | --- | --- | --- |

| To | : | ____________________ |  | Fax | : | _____________ |
| --- | --- | --- | --- | --- | --- | --- |
| Attn | : | ____________________ |  | Tel | : | _____________ |

| Instructions: Please provide all available information requested below. Return to: Section: |  |
| --- | --- |

| Cord Sets & Power Supply Cord Equipment List |
| --- |
| Applicant Name & Address: | Contact Person: |
|  | Tel. No.: |
|  | Fax No.: |
|  | E-mail: |
| Manufacturer Name & Address: | Contact Person: |
|  | Tel. No.: |
|  | Fax No.: |
|  | E-mail: |
| For UL Engineer’s or Field Representative’s Use: Inspection Conducted by: File No: E Inspection Date: Project No.: |

| Polarization and Continuity Test Equipment Reference: UL 817, Sec. 105 |
| --- |
| Criteria | Comply with requirements? | Comments |
|  | Yes | No |  |
| Ohmmeter available |  |  | Manufacturer: Model: |
| Light bulb and battery combination available |  |  |  |

| Insulation Resistance Test Equipment Reference: UL 817, Sec. 89 |
| --- |
| Criteria | Comply with requirements? | Comments |
|  | Yes | No |  |
| Test equipment available |  |  | Manufacturer: Model: |
| Calibrated within the last year |  |  | Last calibration date: Next calibration date: |
| Test equipment has an open-circuit potential of 500 V DC |  |  |  |
| No. 7 lead drop shot [approximate diameter 0.1 in. (2.5 mm)], or aluminium foil provided |  |  |  |
| Equipment is capable of measuring 100 megohms insulation resistance |  |  | Minimum increment of scale: Megohms For the Ranges: Megohms respectively |

| Dielectric Voltage Withstand Test Equipment Reference: UL 817, Sec. 104 |
| --- |
| Criteria | Comply with requirements? | Comments |
|  | Yes | No |  |
| Test equipment available |  |  | Manufacturer: Model: |
| Calibrated within the last year |  |  | Last calibration date: Next calibration date: |
| The transformer of power supply having an essentially sinusoidal output at 40 -70 Hz |  |  | Output frequency: Hz |
| Range of test voltage suitable for the products to be tested |  |  | Range: 0 - kV; minimum increment: kV Range: 0 - kV; minimum increment: kV |
| Voltmeter present |  |  |  |
| Voltmeter is connected directly to the output terminals |  |  |  |
| If the output of power supply is 500 volt-amperes or larger, the test potential may be indicated by a voltmeter in the primary circuit or in a tertiary winding circuit, |  |  | Output power = VA |
| by a selector switch marked to indicate the test potential, or |  |  |  |
| by a marking in a readily visible location to indicate the test potential of equipment having a single test potential output |  |  |  |
| If the output of power supply is less than 500 volt-amperes, a voltmeter should be included in the output circuit to directly indicate the test potential |  |  | Manufacturer should provide the schematic diagram of this test equipment |
| An audible or visual indication of breakdown is provided |  |  | Indication of breakdown: [ ] Alarm [ ] Lamp [ ] Others: |
| In the event of breakdown, a manual reset of an external switch, or an automatic rejection of the unit under test is provided |  |  |  |

| Test Equipment for 1) Conductor Secureness, 2) Security of Blade, 3) Security of Insulation & 4) Strain Relief Reference: UL 817, Sec. 81, 82, 83, 84 |
| --- |
| Criteria | Comply with requirements? | Comments |
|  | Yes | No |  |
| Test equipment available |  |  | Manufacturer: Model: |
| Calibrated within the last year |  |  | Last calibration date: Next calibration date: |
| Weight values: 8 lbf. (3.6 kg) 15 lbf. (6.8 kg) 20 lbf. (9.0 kg) 30 lbf. (13.6 kg) |  |  |  |
| Weight value permanently marked on weights |  |  |  |
| Horizontal steel plate as supporting surface provided |  |  |  |

| Abrupt Pull Test Equipment Reference: UL 817, Sec. 99, Fig. 99.1, Fig. 99.2 |
| --- |
| Criteria | Comply with requirements? | Comments |
|  | Yes | No |  |
| Test equipment available |  |  | Manufacturer: Model: |
| 45 degree angle test fixture provided |  |  |  |
| Specimen mounting steel plate provided |  |  |  |
| Specimen securing collar with set screws provided |  |  |  |
| Clamping means provided |  |  | Note: Please fill in the dimension indicated in attached figure. |
| Guide rod provided |  |  | Diameter: in. |
| Striker-plate provided |  |  |  |
| Combined weight of striker-plate assembly and holding clamp: 2 lb. ± 3 oz. (907 g ± 85g) |  |  |  |
| Drop weight: 2-1/2 lb. (1.1 kg) |  |  |  |
| Weight value permanently marked on drop weight |  |  |  |
| Drop weighted has been calibrated within the last year |  |  | Last calibration date: Next calibration date: |
| Continuity detection circuit provided |  |  |  |
| 40 A current test circuit provided |  |  |  |
| Timer provided |  |  |  |
| Hooks or wires provided |  |  |  |

| Jacket Retention Test Equipment Reference: UL 817, Sec. 100, Fig. 99.1, Fig. 99.2 |
| --- |
| Criteria | Comply with requirements? | Comments |
|  | Yes | No |  |
| Test equipment available |  |  | Manufacturer: Model: |
| Vertical plate assembly capable of: rotating through 360 degree, and securing the molded-on fitting so that the cord exits the fitting being tested with the longitudinal axis of the cord in a horizontal direction, perpendicular to the plate face |  |  |  |
| Weight values: 3 lb. (1.4 kg) 15 lb. (7 kg) |  |  |  |
| Weight value permanently marked on weights |  |  |  |
| Weights have been calibrated within the last year |  |  | Last calibration date: Next calibration date: |

| Blade Pull Test at Elevated Temperature Test Equipment (Optional) Reference: UL 817, Sec. 95 |
| --- |
| Criteria | Comply with requirements? | Comments [Manufacturer do not plan to |
|  | Yes | No | conduct this test at the factory] |
| Air circulating oven available |  |  | Manufacturer: Model: |
| Oven has been calibrated within the last year |  |  | Last calibration date: Next calibration date: |
| Specimen mounting steel plate provided with thickness 1/4 in. (6.4 mm) |  |  | Thickness: in. |
| A circular hole with diameter just large enough for 2-conductor fittings |  |  |  |
| A circular hole with diameter just large enough for 3-conductor fittings |  |  |  |
| Weight value: 10 lb. (4.5 kg) |  |  |  |
| Weight value permanently marked on weights |  |  |  |
| Weight has been calibrated within the last year |  |  | Last calibration date: Next calibration date: |
| Vernier calipers available |  |  | Manufacturer: Model: |
| Vernier calipers have been calibrated within the last year |  |  | Last calibration date: Next calibration date: |
| Minimum increment equal to or less than 0.001 in. (0.01 mm) |  |  | Minimum increment: mm |

| Flexing Test Equipment (Optional) Reference: UL 817, Sec. 96, Fig. 96.1 |
| --- |
| Criteria | Comply with requirements? | Comments [Manufacturer do not plan to |
|  | Yes | No | conduct this test at the factory] |
| Flexing test apparatus available |  |  | Manufacturer: Model: |
| Clamping and rotating member provided |  |  |  |
| Cycle rate of flexing: 10 cycles per min. |  |  |  |
| Counter for recording the number of flexing cycles provided |  |  |  |
| Continuity detection circuit provided |  |  |  |
| Weight values: 4 oz. (113 g) 10 oz. (284 g) |  |  |  |
| Weight value permanently marked on weights |  |  |  |
| Weights have been calibrated within the last year |  |  | Last calibration date: Next calibration date: |

Factory Equipment Survey for Cord Sets

& Power Supply Cords Manufacturers

It is necessary for each manufacturer of cord sets and power supply cords successfully to pass a factory test equipment survey conducted by one of our personnel.  A list of test equipment which the manufacturer is required to have in the factory is stated in the Standard for Cord Sets and Power-Supply Cords (UL 817) as follows:

- Conductor Secureness Test Equipment (UL 817, Sec. 81)

- Security of Blade Test Equipment (UL 817, Sec. 82)

- Security of Insulation Test Equipment (UL 817, Sec. 83)

- Strain Relief Test Equipment (UL 817, Sec. 84, Sec. 85)

- Insulation Resistance Test Equipment (UL 817, Sec. 89)

- Blade Pull Test at Elevated Temperature Test Equipment - Optional (UL 817, Sec. 95)

- Flexing Test Equipment – Optional (UL 817, Sec. 96)

- Abrupt Pull Test Equipment:  UL 817, Sec. 99)

- Jacket Retention Test Equipment (UL 817, Sec. 100)

- Dielectric Voltage Withstand Test Equipment (UL 817, Sec. 104)

- Polarization and Continuity Test Equipment (UL 817, Sec. 105)

Note:

You may elect to conduct the Blade Pull at Elevated Temperature Test (UL 817, Sec. 95) and the Flexing Test (UL 817, Sec. 96) at your facilities rather than having these tests performed at UL, also as part of our Follow-Up Service Program.  If you elect to perform these two tests in your factory, please inform us in advance because evaluation of the test equipment must be conducted by a member of our staff from Conformity Assessment Services (CAS).

Supplement for Test Equipment for Conductor Secureness Test, Strain Relief Test, Security of Blade Test and Security of Insulation Test

8 lb., 15 lb., 20 lb., 30 lb., weight shall be provided.  In addition, a supporting surface must be provided which will allow the angle between the contact element or line blade and the flexible cord to be the same as in the completely assembled fitting.  The supporting surface may be in the form of a horizontally supported steel plate containing knotches or grooves which will accommodate the contact element or line blade in the position required.  This horizontal steel plate should also include a single round hole of a diameter sufficiently large to permit only the line blades of an attachment plug, plus a grounding pin if one is used, to pass through it.