中国标准电源插头

227IEC42(RVB)2×0.5mm²   6A250V
227IEC42(RVB)2×0.75mm²  6A250V
227IEC52(RVV)2×0.5mm²   6A250V
227IEC52(RVV)2×0.75mm²  6A250V

227IEC52(RVV) 2×0.75mm² 6A250V
227IEC53(RVV) 2×0.75mm² 6A250V
227IEC53(RVV) 2×1.0mm²  10A250V

227IEC42(RVB)2×0.5mm²   6A250V
227IEC42(RVB)2×0.75mm²  6A250V
227IEC52(RVV)2×0.5mm²   6A250V
227IEC52(RVV)2×0.75mm²  6A250V

227IEC52（RVV）3×0.5mm²   6A250V
227IEC52（RVV）3×0.75mm²  6A250V
227IEC53（RVV）3×0.75mm²  6A250V
227IEC53（RVV）3×1.0mm²   10A250V

227IEC52（RVV）3×0.5mm²   6A250V
227IEC52（RVV）3×0.75mm²  6A250V
227IEC53（RVV）3×0.75mm²  6A250V
227IEC53（RVV）3×1.0mm²   10A250V

227IEC52（RVV）3×0.5mm²   6A250V
227IEC52（RVV）3×0.75mm²  6A250V
227IEC53（RVV）3×0.75mm²  6A250V
227IEC53（RVV）3×1.0mm²   10A250V
RX 300/300V    3×0.75mm²  6A250V
RX 300/300V    3×1.0mm²   10A250V

欧洲标准电源插头

| H03VVH2 -F | 2X0.5mm² | 10/16A250V |
| --- | --- | --- |
| H03VVH2 -F | 2X0.75mm² | 10/16A250V |
| H03VV -F | 2X0.5mm² | 10/16A250V |
| H03VV -F | 2X0.75mm² | 10/16A250V |
| H05VVH2 -F | 2X0.75mm² | 10/16A250V |
| H05VVH2 -F | 2X1.0mm² | 10/16A250V |
| H05VV -F | 2X0.75mm² | 10/16A250V |
| H05VV -F | 2X1.0mm² | 10/16A250V |

| H03VVH2 -F | 2X0.5mm² | 2.5A250V |
| --- | --- | --- |
| H03VVH2 -F | 2X0.75mm² | 2.5A250V |
| H03VV -F | 2X0.5mm² | 2.5A250V |
| H03VV -F | 2X0.75mm² | 2.5A250V |
| H05VVH2 -F | 2X0.75mm² | 10A250V |
| H05VVH2 -F | 2X1.0mm² | 10A250V |
| H05VV -F | 2X0.75mm² | 10A250V |
| H05VV -F | 2X1.0mm² | 10A250V |

| H03VVH2 -F | 2X0.5mm² | 2.5A250V |
| --- | --- | --- |
| H03VVH2 -F | 2X0.75mm² | 2.5A250V |
| H03VV -F | 2X0.5mm² | 2.5A250V |
| H03VV -F | 2X0.75mm² | 2.5A250V |
| H05VVH2 -F | 2X0.75mm² | 10A250V |
| H05VVH2 -F | 2X1.0mm² | 10A250V |
| H05VV -F | 2X0.75mm² | 10A250V |
| H05VV -F | 2X1.0mm² | 10A250V |

| H03VV -F | 3G0.5mm² | 10/16A250V |
| --- | --- | --- |
| H03VV -F | 3G0.75mm² | 10/16A250V |
| H05VV -F | 3G0.75mm² | 10/16A250V |
| H05VV -F | 3G1.0mm² | 10/16A250V |
| H05VV -F | 3G1.5mm² | 10/16A250V |

| H03VV -F | 3G0.5mm² | 10/16A250V |
| --- | --- | --- |
| H03VV -F | 3G0.75mm² | 10/16A250V |
| H05VV -F | 3G0.75mm² | 10/16A250V |
| H05VV -F | 3G1.0mm² | 10/16A250V |
| H05VV -F | 3G1.5mm² | 10/16A250V |

| H03VV -F | 3G0.5mm² | 10A250V |
| --- | --- | --- |
| H03VV -F | 3G0.75mm² | 10A250V |
| H05VV -F | 3G0.75mm² | 10A250V |
| H05VV -F | 3G1.0mm² | 10A250V |

| H03VV -F | 3G0.5mm² | 10A250V |
| --- | --- | --- |
| H03VV -F | 3G0.75mm² | 10A250V |
| H05VV -F | 3G0.75mm² | 10A250V |
| H05VV -F | 3G1.0mm² | 10A250V |

| 227IEC52(RVV) | 3X0.75mm² | 10A250V |
| --- | --- | --- |
| 227IEC53(RVV) | 3X0.75mm² | 10A250V |
| 227IEC53(RVV) | 3X1.0mm² | 10A250V |
| H03VV -F | 3G0.75mm² | 6A250V |
| H05VV -F | 3G0.75mm² | 10A250V |
| H05VV -F | 3G1.0mm² | 10A250V |

| 227IEC52(RVV) | 3X0.75mm² | 10A250V |
| --- | --- | --- |
| 227IEC53(RVV) | 3X0.75mm² | 10A250V |
| 227IEC53(RVV) | 3X1.0mm² | 10A250V |
| H03VV -F | 3G0.75mm² | 6A250V |
| H05VV -F | 3G0.75mm² | 10A250V |
| H05VV -F | 3G1.0mm² | 10A250V |
| 澳大利亚标准电源插头 |
| SAA |

| H05VVH2 -F | 2X0.75mm² | 7.5A250V |
| --- | --- | --- |
| H05VV -F | 2X0.75mm² | 7.5A250V |
| H05VV -F | 2X1.0mm² | 10A250V |

| H05VVH2 -F | 2X0.75mm² | 7.5A250V |
| --- | --- | --- |
| H05VV -F | 2X0.75mm² | 7.5A250V |
| H05VV -F | 2X1.0mm² | 10A250V |

| H05VV -F | 3G0.75mm² | 7.5A250V |
| --- | --- | --- |
| H05VV -F | 3G1.0mm² | 10A250V |
| H05VV -F | 3G1.5mm² | 15A250V |
| 美国标准电源插头 |
| C-UL |

| SPT-1 | 18AWG/2C |
| --- | --- |
| SPT-2 | 18AWG/2C |
| SPT-2 | 16AWG/2C |
| SPT-3 | 18AWG/2C |
| SPT-3 | 16AWG/2C |
| SVT | 18AWG/2C |
| SVT | 17AWG/2C |
| NISPT-1 | 18AWG/2C |
| NISPT-2 | 18AWG/2C |

| SVT | 18AWG/2C |
| --- | --- |
| SVT | 17AWG/2C |
| ST | 18AWG/2C |
| ST | 16AWG/2C |
| SJT | 18AWG/2C |
| SJT | 16AWG/2C |
| NISPT-1 | 18AWG/2C |
| NISPT-2 | 18AWG/2C |

| SVT | 18AWG/2C |
| --- | --- |
| SVT | 17AWG/2C |
| SVT | 18AWG/2C(齿形) |
| SVT | 17AWG/2C(齿形) |
| ST | 18AWG/2C |
| ST | 16AWG/2C |

| SPT-1 | 18AWG/3C |
| --- | --- |
| SPT-2 | 18AWG-16AWG/3C |
| SPT-3 | 18AWG-16AWG/3C |
| SVT | 18AWG- 17AWG/3C |
| SVT | 18AWG-17AWG/3C(齿形) |
| ST | 18AWG-16AWG/3C |
| SJT | 18AWG-16AWG/3C |

| SVT | 18AWG/3C |
| --- | --- |
| SVT | 17AWG/3C |
| SVT | 18AWG/3C(齿形) |
| SVT | 17AWG/3C(齿形) |
| ST | 18AWG/3C |
| ST | 16AWG/3C |
| SJT | 16AWG/3C |
| SJT | 18AWG/3C |

日本标准电源插头

| VFF | 2X0.75mm² | 7A125V |
| --- | --- | --- |
| VCTF | 2X0.75mm² | 7A125V |
| VCTFK | 2X0.75mm² | 7A125V |

以色列 南非 英国电源插头

| H03VV-F | 3G0.75mm² |
| --- | --- |
| H05VV-F | 3G0.75mm² |
| H05VV-F | 3G1.0mm² |
| H05VV-F | 3G1.5mm² |

| H03VV-F | 3G0.75mm² |
| --- | --- |
| H05VV-F | 3G0.75mm² |
| H05VV-F | 3G1.0mm² |
| H05VV-F | 3G1.5mm² |

| H03VV-F | 3G0.5mm² |
| --- | --- |
| H03VV-F | 3G0.75mm² |
| H05VV-F | 3G0.75mm² |
| H05VV-F | 3G1.0mm² |
| H05VV-F | 3G1.5mm² |

欧洲标准电源线

· 标准: DIN VDE0281 · 型号: H03VVH2-F H03VV-F H05VVH2-F H05VV-F · 额定电压: H03 300/300V H05 300/500V · 应用: H03型适用小功率家用电器、电动工具及动力照明等。 H05型适用大功率家用电器电动工具及照明等 · 构造

H03VVH2-F & H05VVH2-F

H03VV-F & H05VV-F

H03VVH2-F & H03VV-F

芯数 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) 2 0.5 28/0.15 0.5 0.5 3.3X5.4 2 0.5 28/0.15 5.4 2 0.75 42/0.15 3.4X5.6 2 0.75 42/0.15 5.6 3 0.5 28/0.15 5.6 3 0.75 42/0.15 6.1

H05VVH2-F & H05VV-F

芯数 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) 2 0.75 42/0.15 0.6 0.8 6.5 2 0.75 42/0.15 4.1X6.5 2 1.0 32/0.2 6.7 2 1.0 32/0.2 4.3X6.9 2 1.5 48/0.2 0.8 7.7 3 0.75 42/0.15 0.6 6.8 3 1.0 32/0.2 7.3 3 1.5 48/0.15 0.8 0.9 8.4

中国标准电源线

导线

· 标准: GB5023.3-1997 · 型号: 227 IEC 02(RV),227 IEC 08(RV-90) · 额定电压: 227 IEC 02(RV) 450/750V 227 IEC 08(RV-90) 300/500V · 应用: 02型适用各种家用电器、仪器仪表连接等 08型适用各种家用电器高温下连接

· 构造

227 IEC 02(RV) & 227 IEC 08(RV-90)

227 IEC 02(RV) 导体 绝缘 面积(mm²) 构造(No./mm) 标称厚度(mm) 完成外径(mm) 1.5 48/0.2 0.7 3.0 2.5 80/0.2 0.8 3.65 227 IEC 08(RV-90) 导体 绝缘 面积(mm²) 构造(No./mm) 标称厚度(mm) 完成外径(mm) 0.75 42/0.15 0.6 2.6 1.0 32/0.2 0.6 2.8 1.5 48/0.2 0.7 3.05 2.5 80/0.2 0.8 3.7

扁型软线

· 标准: GB5023.5-1997 · 型号: 227 IE C42(RVB) · 额定电压: 300/300V · 应用: 适用于小功率家用电器及照明。

·构造

227 IEC 42(RVB)

227 IEC 42(RVB)

导体 绝缘厚度(mm) 完成外径(mm) 芯数 面积(mm²) 结构(No./mm) 2 0.5 28/0.15 0.8 2.7×5.4 2 0.75 42/0.15 0.8 2.9×5.8

护套软电线

· 标准: GB5023.5-1997 · 型号: 227 IEC 52(RVV),227 IEC 53(RVV) · 额定电压: 227 IEC 52(RVV)300/300V 227 IEC 53(RVV)300/500V · 应用: 227 IEC 52(RVV)适用于小功率家用电器、电 动工具以及动力照明等。 227 IEC 53(RVV)适用于大功率家用电器、电 动工具以及动力照明等。 · 构造

227 IEC 52(RVV) & 227 IEC 53(RVV)

扁型

圆型芯数

227 IEC 52(RVV)

芯数 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) 2 0.5 28/0.15 0.5 0.6 5.3 2 0.5 28/0.15 3.26×5.3 2 0.75 42/0.15 5.7 2 0.75 42/0.15 3.4×5.8 3 0.5 28/0.15 5.6 3 0.75 42/0.15 6.05

227 IEC 53(RVV)

芯数 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) 2 0.75 42/0.15 0.6 0.8 6.5 2 0.75 42/0.15 0.6 4.1×6.5 2 1.0 32/0.2 0.6 6.9 2 1.5 48/0.2 0.7 7.7 3 0.75 42/0.15 0.6 6.9 3 1.0 32/0.2 0.6 7.4 3 1.5 48/0.2 0.7 0.9 8.5

日本标准电源线

VFF

· 标准: JIS C 3306 · 型号: VFF · 额定电压: 300V · 使用温度: 75°C · 应用: 适用于各种家用电器、电动工具及 动力照明。

· 构造

芯数 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 完成外径(mm) 2 0.5 20/0.18 0.8 2.5×5.0 2 0.75 30/0.18 2.7×5.4 2 1.25 50/0.18 3.1×6.2 · 标准: JIS C 3306 · 型号: VCTFK&VCTF · 额定电压: 300V · 使用温度: 75°C · 应用: 适用于各种家用电器、电动工具及 动力照明。 · 构造

VCTFK & VCTF

VCTFK

VCTF

VCTFK & VCTF

型号 芯数 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) VCTFK 2 0.75 30/0.18 0.6 1.0 4.2×6.5 2 1.25 50/0.18 4.7x7.4 VCTF 2 0.75 30/0.18 6.6 2 1.25 50/0.18 7.4 3 0.75 30/0.18 7.0 3 1.25 50/0.18 8.5

美国标准电源线

C-UL

· 标准: UL62 · 型号: SPT-1，SPT-2，SPT-3，NISPT-2， SVT，ST，SJT · 额定电压: 300V，600V（ST） · 使用温度: 60°C/105°C · 应用: 适用于各种家用电器、电动工具及 动力照明。

· 构造

SPT-1 & SPT-2 & SPT-3

型号 芯数 线规 面积(mm²) 结构(No/mm) 护套厚度(mm) 完成外径(mm) PT-1 2 18 0.823 41/0.16 0.76 2.7X5.4 3 18 0.823 41/0.16 0.76 2.7X7.5 SPT-2 2 18 0.823 41/0.16 1.14 3.5X6.9 2 16 1.31 2.6/0.253 3.7X7.5 3 18 0.823 41/0.16 3.6X8.6 3 16 1.31 26/0.253 3.9X9.6 SPT-3 2 18 0.823 41/0.16 1.52 4.4X7.8 2 16 1.31 26/0.253 4.5X9.1 3 18 0.823 41/0.16 4.3X9.8 3 16 1.31 26/0.253 4.6X11.8

NISPT-1 & NISPT-2

型号 芯数 线规 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) NISPT-1 2 18 0.823 41/0.16 0.38 0.38 3.1x6.0 NISPT-2 2 18 0.823 41/0.16 0.76 0.38 4.0x7.6

SVT & ST & SJT

型号 芯数 线规 面积(mm²) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) SVT 2 18 0.823 41/0.16 0.38 0.76 5.9±0.1 3 18 0.823 41/0.16 6.3±0.1 2 17 1.04 52/0.16 6.4±0.1 3 17 1.04 52/0.16 6.8±0.1 ST 2 18 0.823 41/0.16 0.76 1.52 8.5±0.15 3 18 0.823 41/0.16 8.9±0.15 2 16 1.31 26/0.253 9.3±0.15 3 16 1.31 26/0.253 9.8±0.15 SJT 2 18 0.823 41/0.16 0.76 0.76 7.4±0.15 2 16 1.31 26/0.253 7.8±0.15 2 14 2.08 41/0.253 8.6±0.15 3 18 0.823 41/0.16 7.8±0.15 3 16 1.31 26/0.253 8.4±0.15 3 14 2.08 41/0.253 9.3±0.15

澳洲标准电源线

SAA

· 标准: SAA AS 3191-1994 · 型号: H03VVH2-F H03VV-F H05VVH2-F H05VV-F · 额定电压: H03 300/300V H05 300/500V · 应用: H03型适用小功率家用电器、电动工具及动力照明等。 H05型适用大功率家用电器电动工具及照明等 · 构造

H03VVH2-F & H05VVH2-F

H03VV-F & H05VV-F

H03VVH2-F & H03VV-F

芯数 面积(Sqmm) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) 2 0.5 28/0.15 0.5 0.5 3.3X5.4 2 0.5 28/0.15 5.4 2 0.75 42/0.15 3.7X5.8 2 0.75 42/0.15 5.6 3 0.5 28/0.15 5.6 3 0.75 42/0.15 6.1

H05VVH2-F & H05VV-F

芯数 面积(Sqmm) 结构(No/mm) 绝缘厚度(mm) 护套厚度(mm) 完成外径(mm) 2 0.75 42/0.15 0.6 0.8 6.5 2 0.75 42/0.15 4.1X6.5 2 1.0 32/0.2 6.9 2 1.5 48/0.2 0.8 7.7 3 0.75 42/0.15 0.6 6.8 3 1.0 32/0.2 7.3 3 1.5 48/0.15 0.8 0.9 8.4

Power Cord: European Standard 2-Pin

Power Cord: European Standard 3-Pin Angled Type

Power Cord: Waterproof European Standard 3-Pin

Power Cord: UK Standard 3-Pin

Power Cord: Australia Standard 3-Pin

Power Cord: Italy Standard 3-Pin

Power Cord: USA/Canada Standard 2 Pin

Power Cord: Waterproof European Standard 2-Pin