SMT POWER DM 55 CHARGERS

主要技术参数

Maximum Continuous DC Output Current          55AMPS
Maximum Continuous Input Power              880WATTS

Charge Mode                                  3 Stage

DC Output Voltage (Normal)              13.6 VDC±1%

DC Output Voltage (Boost)                14.4 VDC±1%

DC Output Voltage (Storage)              13.2 VDC±1%

Input Voltage                                108-132VAC

Input Voltage Frequency                          50-60HZ

Efficiency (Typical)                                ＞80%

Over Current Protection Point                     58-60Ams

Reverse Battery Protection                            YES

Electronic Current Limiting (Short Circuit Protection)      YES

Over Voltage Protection                              YES

Over Temperature Protection                          YES

Back UP Thermal Protection                          YES

Electronic Fan Control (Start@50℃,Stop@38℃)       ON/OFF

Line Regulation                                   ＜1.0%

Load Regulation                                   ＜1.0%

Operating Temperature Range                       0---40℃

Storage Temperature                            -20---+80℃

Hipot Voltage Test               1500V@INPUT TERMINALS

Dimensions                                260x168x90mm3

Weight                                           3.06kg

Safety                                           UL458

EMC                                        Fcc Class B

拟制：              审核：               批准：

July 27, 2006