| LEADS NO OR COLOR 端子号或颜色 | RATED VOLTAGE 额定电压 | RATED CURRENT 额定电流 | NO LOAD VOLTAGE 空载电压 | REMARK 备注 |
| --- | --- | --- | --- | --- |
| PIN-PIN | 10VAC±5% | AC200mA | 13.5VAC±5% | 6-7 |