EBS small C.T.

Accuracy .3% Class

10 ohm resister .1% built in

18awg 600v lead wire

1000 turns

200A to 2V

Tape insulated construction

UL Listed

Information label:

Rating: 200A:2A, 60Hz

Accuracy: 0.3 Class

600V Made in ________

U.L.#

|  |  |  |  | ID = 1" |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | OD = 1.9" |  |  |
|  |  |  |  | thickness = .5" |  |
|  |  |  |  | wirelength = 18" 18awg stranded |