| Test Report |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type | Low voltage & High Current Charger |  |  |  |  |  |  | Project NO. |  |  |
| Test Times | 2007-12-28 To 2007-12-29 |  |  |  |  |  |  | Test Persons |  |  |
| Test equipments |  |  | Electronic Load – Chroma 63101 |  |  |  |  | Sample NO. |  |  |
| Test equipments |  |  | AC Source – Chroma 61601 |  |  |  |  | Input Voltage |  |  |
| Test equipments |  |  | Multimeter – Fluke 15D |  |  |  |  | Frequency |  |  |
| Testing item |  | Current | Out Voltage |  | Power out | Ripple & noise | Testing model |  | Efficiency | Input Current |
| Unit |  | A | V |  | W | mV | CC / CV |  | η ( % ) | mA |
| Tolerance |  | ±5% | ±1% |  | ±10% | MAX | CC / CV |  | MIN | MAX |
| Standard SPC. |  | 15 | 4.16 |  | 62.4 | 100 | CC / CV |  | 85% | 1000 |
| Parameter |  | Current | Out Voltage |  | Power out | Power input | Testing model |  | Efficiency | Input Current |
| 1A |  |  |  |  |  |  |  |  |  |  |
| 2A |  |  |  |  |  |  |  |  |  |  |
| 3A |  |  |  |  |  |  |  |  |  |  |
| 4A |  |  |  |  |  |  |  |  |  |  |
| 5A |  |  |  |  |  |  |  |  |  |  |
| 6A |  |  |  |  |  |  |  |  |  |  |
| 7A |  |  |  |  |  |  |  |  |  |  |
| 8A |  |  |  |  |  |  |  |  |  |  |
| 9A |  |  |  |  |  |  |  |  |  |  |
| 10A |  |  |  |  |  |  |  |  |  |  |
| 11A |  |  |  |  |  |  |  |  |  |  |
| 12A |  |  |  |  |  |  |  |  |  |  |
| 13A |  |  |  |  |  |  |  |  |  |  |
| 14A |  |  |  |  |  |  |  |  |  |  |
| 15A |  |  |  |  |  |  |  |  |  |  |